**CARDIAC IMPLANTABLE ELECTRONIC DEVICE (CIED)**

**INTERROGATION & RE-PROGRAMMING REPORT**

**PRE-PROCEDURE DIAGNOSES:**

\_

**POST-PROCEDURE DIAGNOSES:**

\_

**PROCEDURE**

\_ Single chamber pacemaker\_ICD interrogation \_ and programming

\_ Dual chamber pacemaker\_ICD interrogation \_and programming

\_ Bi-ventricular pacemaker\_ICD interrogation \_and programming

**OPERATORS**

\_, MD: Cardiology Attending.

\_, MD: Cardiology Fellow.

**Indication for Device therapy:**

\_

**Clinical Question for interrogation:**

\_

**GENERATOR** Model: \_

Serial Number: \_

Battery Voltage: \_ v

Longevity: \_ yrs

Charge Time: \_ sec

**EVENTS**:

\_

**BRADY SETTINGS**  
 Mode: \_  
 Lower Rate Limit: \_ ppm

Upper Tracking Limit: \_ ppm

Paced/Sensed AV Delay: \_/\_ ms

Pacing: \_RV/LV/BiV

**TACHYTHERAPY SETTINGS:**

Detection Rate(bpm) Therapies

VF \_ \_

FVT \_ \_

VT \_ \_

Monitor \_ \_

**PACING:**  
 AS-VS: \_%

AS-VP: \_%

AP-VS: \_%

AP-VP: \_%

VP: \_%

**LEADS**   
 ***Atrial***  
 Pacing Impedance: \_ ohms

Programmed Amplitude/Pulse Width: \_ V at \_ ms  
 Intrinsic Amplitude: \_ mV

Programmed Sensitivity: \_ mV

Capture Threshold: \_ V at \_ ms

***Right Ventricle***  
 Pacing Impedance: \_ ohms

Programmed Amplitude/Pulse Width: \_ V at \_ ms  
 Intrinsic Amplitude: \_ mV  
 Programmed Sensitivity: \_ mV

Capture Threshold: \_ V at \_ ms

***Left Ventricle***  
 Pacing Impedance: \_ ohms

Programmed Amplitude/Pulse Width: \_ V at \_ ms  
 Capture Threshold: \_ V at \_ ms

***Defibrillator Coil(s)***

Defibrillation Impedance: \_ ohms RV coil

Defibrillation Impedance: \_ ohms SVC coil

**CHANGES MADE:**

\_

**IMPRESSIONS**  
1) Normally functioning pacemaker\_ICD.

2) \_

**RECOMMENDATIONS**

1) \_